Cloud Motion and Stability Estimation for Intra-hour Solar Forecasting

Chi Wai Chowa, Serge Belongieb, Jan Kleissla

aCenter for Renewable Resources and Integration, Department of Mechanical and Aerospace Engineering, University of California, San Diego, United States

bDepartment of Computer Science, Cornell Tech, New York, United States

Corresponding author: Chi Wai Chow
email: cwchow@ucsd.edu

# Abstract

Techniques for estimating cloud motion and stability for intra-hour forecasting using a ground-based sky imaging system are presented. A variational optical flow (VOF) technique was used to determine the sub-pixel accuracy of cloud motion for every pixel. Cloud locations up to 15 min ahead were forecasted by inverse mapping of the cloud map.  A month of image data captured by a sky imager at UC San Diego was analyzed to compare the accuracy of VOF forecast with cross-correlation method (CCM) and image persistence method. The VOF forecast with a fixed smoothness parameter was found to be superior to image persistence forecast for all forecast horizons for almost all days and outperform CCM forecast with an average error reduction of 39%, 21%, 19%, and 19% for 0, 5, 10, and 15 min forecasts respectively. Optimum forecasts may be achieved with forecast-horizon-dependent smoothness parameters. In addition, cloud stability and forecast confidence was evaluated by correlating point trajectories with forecast error. Point trajectories were obtained by tracking sub-sampled pixels using optical flow field. Point trajectory length in mintues was shown to increase with decreasing forecast error and provide valuable information for cloud forecast confidence at forecast issue time.

# 1. Introduction

Short-term variability in the power generated by solar energy creates challenges for power system planners and operators because of the growing penetration rate. The highly predictable diurnal and annual irradiance pattern aside, clouds have the strongest impact on solar energy production. Transient clouds cause strong spatio-temporal variability and fluctuating solar power feed-into the grid. Large ramp events are of primary concern for relatively small microgrids and island grids, as their ability to absorb the fluctuations is limited. While distributed PV causes less variability to the grid in aggregate, it is less controllable by grid operators as it often lacks the ability for power curtailment (Eber and Corbus 2013). The resulting imbalance motivates the need for regulation reserve that scale with both variability and forecast uncertainty (Helman et al., 2010). Different strategies have been studied to mitigate the operational problems with increased solar penetration (Eber and Corbus 2013, Ela et al., 2013) and a simulation study by Ela et al. (2013) demonstrated that an increased power dispatch frequency and accurate short-term solar forecasts can reduce regulating reserve requirements and production costs. Therefore, reliable forecast information on the expected power production is essential for efficient integration. Since most solar variability (Hoff and Perez, 2012, Lave and Kleissl, 2013,) and forecast models (e.g. Chow et al., 2011, Marquez and Coimbra, 2013, Perez et al.  2010) require cloud velocity as main input, accurate cloud motion estimation has become of increased interest (, Bosch et al. 2013, Bosch and Kleissl, 2013, Fung et al. 2013, Huang et al. 2013, Quesada-Ruiz et al. 2014).

Cloud motion estimation and tracking has a long history in visible satellite imagery (e.g. Menzel, 2001) and solar irradiance forecasts up to a few hours ahead are strongly dependent on the apparent motion of cloud structures. Sparse cloud motion vectors (CMVs) are generally obtained by first locating salient image features such as brightness gradients, corners, cloud edges, or brightness temperature gradients (Bedka and Mecikalski 2005, Menzel 2001).  Assuming the features do not change significantly over a short interval, CMVs are computed using pattern-matching techniques applied to successive images. The future cloud situation is then estimated by the extrapolation of motion assuming persistence of cloud speed, size, and shape.

CMVs as a basis for advecting such a frozen cloud field derived from ground-based sky imagers were developed and applied by Chow et al (2011) and Yang et al. (2014). Similar to Hamill and Nehrkorn (1993), the cross-correlation method (CCM) was applied to obtain an average CMV for the entire cloud field. Forecast cloud field position is obtained by shifting the cloud decision images along the corresponding motion vector. Yang et al. (2014) found that CCM advection forecasts (hereinafter CCM forecast) exhibited a larger cloud matching error than image persistence forecast for forecast horizon (FH) of 5 min in 11 of 22 days partially because the spatial homogeneity of the cloud motion assumption is not appropriate given cloud deformation, topographically-induced wind speed variations, and the changing optical perspective. To overcome the above challenges for estimating multiple independent and non-rigid motions, a variational optical flow (VOF) technique is evaluated in this paper. Similar nonrigid registration techniques have also been implemented successfully to estimate cloud motion on sky images last year (Bernecker et al, 2014, West et al, 2014). Optical flow techniques estimate the two-dimensional dense motion field (i.e. every image pixel) with sub-pixel accuracy between two consecutive images (Szeliski, 2010). The variational technique is used in optical flow to minimize an objective function composed of a data model and a regularization term (Horn and Schunck, 1981). The objective function can be solved by well-founded and optimized numerical methods due to the theory of the calculus of variations. As a result of the flexibility of the data modelling process, VOF became a popular technique for motion estimation for fluid imagery such as satellite meteorological images (Corpetti et al., 2002, Héas et al. ,2007, 2008) and experimental fluid mechanics (Corpetti et al, 2006, Heitz et al, 2010).

Even though many advanced techniques to estimate cloud motion exist, little attention has been paid on cloud stability, i.e., how rapidly a cloud is changing, which is a key challenge to “frozen” cloud map advection. While time series of cloud fraction and brokenness in the sky imager field-of-view provide information about the cloud cover variability, changes in these metrics are often dominated by the Eulerian framework (i.e. the advection of clouds in and out of the sky imager field-of-view) and present little information on cloud stability in a Lagrangian sense.

In most cloud advection forecast models, cloud features are assumed constant over the forecast horizon. The validity of this assumption is scale-dependent. Over the sub-30 minute forecast horizon of ground-based sky imagery, this assumption often holds for synoptic and even mesoscale cloud systems but is usually violated for individual clouds or small scale features. From highly granular imagery, clouds – especially those located in the atmospheric boundary layer – have often been observed to significantly deform, evaporate, and develop over time scales of a few minutes in the San Diego coastal area (Chow et al, 2011, Yang et al, 2014). Cloud dynamics are driven by cloud and boundary layer turbulence as well as topographic effects and present challenges to deterministic cloud forecasting. Therefore, a method to identify such circumstances and quantify cloud stability is highly desired.

Temporal invariance of cloud features is a characteristic of cloud stability. For that reason, we propose to establish a forecast confidence metric based on dynamic image features and the optical flow field extracted from the VOF method to infer cloud stability and the validity of the frozen-cloud advection technique. In fact, dynamic features have been shown to be of importance in many applications such as object segmentation (Brox and Malik, 2010), cloud classification and synthesis (Liu et al, 2013), and camera calibration (Jacobs et al, 2013).

The main goal in this study is to assess the performance of VOF estimation applied to sky images. In addition, forecast confidence is related to cloud stability through point trajectories that are constructed by tracking pixel points. In Section 2 methods to obtain cloud motion and point trajectories using VOF are described. Section 3 presents results and discussion on cloud forecast and stability. Conclusions follow in Section 4.

# 2. Methods

# 2.1 Data

The sky imager developed at UC San Diego (UCSD Sky Imager or “USI”) mainly consists of a charge-coupled device (CCD) image sensor with 12 bits intensity resolution in each RGB channel, a 4.5 mm circular fisheye lens, and a neutral density filter. The USI utilizes high dynamic range (HDR) imaging and outputs lossless PNG images with a bit depth of 16 bits per channel, a dynamic range of 81 dB, and a useable size of the image of 1748 x 1748 pixels.  Images were processed to remove the distortion caused by the fisheye lens, resulting in red-blue-ratios (RBRs) in a Cartesian coordinate system at the predetermined cloud height. Complete specifications of the USI system can be found in Urquhart et al. (2013, 2014). The November 2012 data consists of images captured every 30 seconds as studied by Yang et al. (2014). Images were not considered if they were clear (cloud fraction <5%) or overcast (>95%). A summary of the sky conditions for each day is shown in Table A.1 in the appendix. To illustrate the sensitivity of the regularization term in the VOF method and point trajectory method, image sequences on Nov 10 and 14, 2014 will be used. Nov 10 consists of mainly cumulus clouds with well-defined edges and large pixel displacement of motion, while Nov 14 consists of smooth, homogenous cirrus clouds with small pixel displacement.

# 2.2 Motion estimation

## 2.2.1 Variational optical flow forecast (VOF forecast)

The fundamental assumption behind optical flow is that an image pixel values does not change over consecutive frames, but only shift position. Mathematically,

|  | Itxt,yt=It+1xt+ut(xt,yt),yt+vt(xt,yt), | (1) |
| --- | --- | --- |

where I represents pixel values, such as color (R, G and B) or gray scale intensity, xt and yt are the Cartesian pixel indices, and ut(xt,yt) and vt(xt,yt) are the motion vector components for pixel (xt, yt) in frame t. The goal is to compute the optical flow field  {ut(xt,yt),vt(xt,yt)}  between two successive frames of an image sequence. The brightness constancy equation is a nonlinear equation in u and v. To simplify the nonlinear equation and solve for the optical flow field, the equation is linearized by a first order Taylor expansion leading to the well-known optical flow constraint (OFC) equation

|  | 0=∂I∂t+∂I∂xu+∂I∂yv. | (2) |
| --- | --- | --- |

The OFC equation is often violated in a realistic cloud scene due to changing illumination, occlusion, non-Lambertian reflectance, etc. For example, clouds in proximity to the sun are whiter than in other locations due to forward scattering and this leads to significant deviations from the brightness constancy assumption. Therefore, to remove the sun-pixel-angle dependence of pixel intensity, a residual red-to-blue ratio (RBR)(RBR image subtracted by the clear sky background RBR image) is used in this study to represent I to correct for background heterogeneity. Clouds are known to leave stronger signatures in the red channel (Shields et al., 2013) and normalization by the blue channel contributes to normalizing out general brightness deviations.

The OFC is an ill-posed problem, i.e. an under-determined system that has one equation with two unknowns, u and v, for which a unique motion cannot be recovered locally without additional constraints. An early approach to handle the OFC problem, known as the local method, was proposed by Lucas and Kanade (1981). They evaluated the OFC equation within a neighborhood where the flow field is assumed homogenous. Nevertheless, choosing an appropriate neighborhood size is challenging and this approach does not solve the ambiguity in homogenous regions. Horn and Schunck (1981) proposed another method based on the assumption that the optical flow field is similar locally and spatially smooth for the whole image. They minimized an objective function by using brightness constancy and global smoothness as model assumptions in a variational method.

In a variational method, model assumptions S1+⋯+Sm are formulated in terms of an energy functional

|  | Ef1ω,…,fnω=S1+⋯+Smdω | (3) |
| --- | --- | --- |

and the functions f1ω,…,fnω should minimize the energy E, where ω=(x,y) denotes a point in the image domain. In this research, the algorithm by Liu (2009) is used due to its simple implementation, relatively low computational intensity, and flexibility in parameters. The global deviations from the brightness constancy and smoothness assumption are measured by

|  | Eu,v=φItxt,yt-It+1xt+u,yt+vdω+αφ(∇2u2+∇2v2)dω, | (4) |
| --- | --- | --- |

where α is a parameter that weighs the second term (regularization term) relative to the OFC term, ∇ is the gradient operator, and φ is a robust function (Black et al., 1996). The regularization term models the spatial smoothness of the optical flow and penalizes high variation across an image.  The goal is to find the optical flow field u and v that minimizes E.

In addition to the variational approach, a multi-scale approach is used to avoid local minima of energy. If displacements between two images are large, the first order Taylor expansion of the brightness constancy equation becomes invalid and the solution of the energy function (Eq. 4)  can be trapped in a local minimum. To avoid such situations, the multi-scale approach initializes the energy minimization in Eq. 4 on a coarse scale to find the global minimum and propagates the solution gradually to the finer scale. Finally, the theory of the calculus of variations leads to a system of Euler-Lagrange equations and they are solved by successive over-relaxation (SOR) numerical approximation. Details on minimization of the energy and the numerical approximation can be found in Brox (2005) and Liu (2009).

To shift the cloud map with the motion vector field the optical flow method obtains pixel positions with a heterogeneous flow field ut(xt,yt) and vt(xt,yt). In general, there are two ways to warp an image: forward and inverse mapping. Let U(x,y) and V(x,y) be a mapping by the optical flow field between coordinate (x,y) and (x',y'). For forward mapping, each coordinate pair (x,y) in the source image is copied to the output image location (x',y') or in vector notation as

| x'y'=Uf(x,y)Vf(x,y). | (5) |
| --- | --- |

The primary limitation of forward mapping is that it produces holes and overlapped pixels in the output image that need to be handled with interpolation and averaging. Therefore, inverse mapping is used to warp the image and is expressed as

| xy=Ui(x',y')Vi(x',y'). | (6) |
| --- | --- |

Inverse mapping scans through each output pixel and samples the correct input pixel from the source image. In this way, every pixel in the output image is guaranteed to be mapped to a pixel from the source image.

## 2.2.2 Cloud forecast metrics

To evaluate the VOF forecast, the VOF forecasts of the binary cloud decision of a sky image transformed to Cartesian coordinates (hereinafter cloud map) is compared against the CCM forecasts described in Chow et al (2011). The nowcast (i.e. 0 minute forecast) is obtained by shifting the cloud map at time t0-dt (dt=30 s throughout this analysis) with the motion vector field determined from the VOF and CCM applied to the images at time t0 and t0-dt (Fig. 1). While the nowcast performance is not of practical relevance since “future” information is used in generating the nowcast, it serves as a useful benchmark since the assumption of cloud speed persistence is not required. To forecast cloud maps at horizons greater than 0 minute, the cloud map at time t0 is advected with the motion vector field to the forecast horizon. To determine accuracy, the actual cloud map at time t0+n ∙dt is overlaid onto the advected cloud map to determine the pixel-by-pixel forecast error. This matching error between the two cloud maps is

| em=PfalsePtotal×100%, | (7) |
| --- | --- |

which is the ratio between the number of falsely forecasted pixels and the number of total pixels in the image. The matching error is sensitive to cloud fraction. Therefore the cloud-advection-versus-persistence (cap) error

| ecap=Pfalse,advectionPfalse, persistent×100% | (8) |
| --- | --- |

is applied to measure if cloud advection improves over a naïve image persistence forecast. The forecast skill (FS)

| FS=1-em,VOFem,CCM | (9) |
| --- | --- |

is defined to measure the improvement in the matching error of the VOF forecast compared to the CCM forecast. Positive values of FS indicate that the VOF forecast is superior to the CCM forecast, with a maximum possible value of one. Since the two advection methods produce spatially different forecast maps, only the common points are compared in both metrics.

Figure 1. Timeline for nowcasting and forecasting the cloud map. dt=30 s throughout this study.

# 2.3 Point trajectories and forecast confidence

Point trajectories are obtained by developing an optical flow tracker based on Sundaram et al. (2010).  Tracking points are initialized (sub-sampled) every twenty pixels from the first frame of an image sequence. Points located in homogenous (e.g. clear or overcast) regions are difficult to track and are therefore removed. Homogeneous regions are identified by the second eigenvalue of the structure tensor, Jo=i=12∇Ii∇IiT (hereinafter image structure)( Sundaram et al., 2010). Each of the points is then tracked using the optical flow field

| xt+1,yt+1=xt,yt+ut(xt,yt),vt(xt,yt). | (10) |
| --- | --- |

Tracking of a point is terminated if one of the following three circumstances is encountered:

- Point is advected out of the forecast domain.

- Forward and backward optical flow yield inconsistent results (Sundaram et al., 2010). Tracking is stopped if the inconsistency is larger than a threshold, which varies as a linear function of motion magnitude.

- The image structure around the trajectory point decreases. The local image structure can capture the dynamics of the cloud evolution as, for example, cloud evaporation decreases the local RBR gradient. However, image structure can also decrease due to measurement errors or optical effects; for example, clouds moving into the solar region appear to have less structure due to pixel saturation.

Lastly, to fill the empty areas due to terminated trajectories, new tracks are initialized in unoccupied areas in each new frame. The trajectory length represents the duration of a pixel point that stays in an image sequence, and the average time length of terminated trajectories for a frame, Tlen, is used to quantify cloud stability. Since clouds entering the field-of-view of the sky imager are by default associated with a shorter trajectory length, a marginal space / transition zone is used between the image domain and region of interest (see Fig. 4 later) and the trajectories in the transition zone are not considered in Tlen. Furthermore, the minimum value of Tlen is 1 min as newly initialized tracks are not considered in the average.

# 3. Experimental results and discussion

# 3.1 Cloud forecast

Figure 2b shows an example image demonstrating the ability of the optical flow technique to capture the non-uniform cloud motion. The cloud in the center moves about 10% faster than the clouds in the east and south areas of the forecast domain.  Table 1 shows a summary of the CCM and VOF forecast performance for each partly cloudy day in November 2012 using the error metrics introduced in Section 2. For the 0 min forecast (nowcast), FS is positive for all days, which confirms that the VOF method is better able to estimate the motion than CCM.

Since the average FS for 5, 10, and 15 min horizons is 0.21, 0.19, and 0.19 respectively, the VOF forecast performed better than CCM forecast on average. The VOF forecast is superior to the CCM forecast for 5 and 10 min FHs for all days. The VOF forecast also outperformed image persistence forecast (ecap,VOF<100%) for the 5-15 min FHs for more than 18 out of 20 days, but less than half of the days for the CCM forecast. For the 15 min forecast, the cloud map is always advected out of 70% of the sky imager field-of-view on 8 days (resulting in missing entries in Table 1) revealing the general limitation of sky imager forecast for FH beyond 15 minutes. For most days, the FS decreases with increasing FH. We believe that errors not related to cloud motion equally increase the matching error of both methods with longer FH, resulting in a larger matching error ratio and smaller FS. Examples of such errors are cloud decision errors and violations of the frozen cloud map assumption, such as perspective errors (Yang et al, 2014).

For the remainder of the manuscript only the VOF technique is considered and the ability to track points with the VOF technique is exploited to quantify correlations between cloud forecast accuracy and cloud stability.

| Table 1. Summary of cap errors and forecast skill for 0, 5, 10, and 15 min forecast horizon for 20 days in November 2012. The errors are only computed under partly cloudy conditions (5% < cloud fraction < 95%) only. Asterisks mark cases when the cloud map was advected more than 70% out of the USI field-of-view on average. |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ecap,CCM[%] |  |  |  | ecap,VOF[%] |  |  |  | FS[-] |  |  |  |
|  | Forecast Horizon [min] |  |  |  |  |  |  |  |  |  |  |  |
| Date | 0 | 5 | 10 | 15 | 0 | 5 | 10 | 15 | 0 | 5 | 10 | 15 |
| 11/01 | 59.5 | 91.2 | 108.7 | 118.0 | 37.4 | 59.4 | 75.9 | 85.7 | 0.37 | 0.35 | 0.30 | 0.27 |
| 11/02 | 96.6 | 110.4 | 120.7 | 122.5 | 54.4 | 68.5 | 76.9 | 84.3 | 0.44 | 0.38 | 0.36 | 0.31 |
| 11/03 | 112.0 | 102.1 | 100.0 | 100.0 | 77.0 | 85.9 | 95.0 | 111.0 | 0.31 | 0.16 | 0.05 | -0.11 |
| 11/07 | 93.5 | 252.8 | * | * | 70.9 | 89.0 | * | * | 0.24 | 0.65 | * | * |
| 11/08 | 63.3 | 87.6 | 112.3 | 124.8 | 42.0 | 61.1 | 76.1 | 87.3 | 0.34 | 0.30 | 0.32 | 0.30 |
| 11/09 | 50.3 | 76.1 | 80.1 | * | 28.7 | 58.4 | 65.7 | * | 0.43 | 0.23 | 0.18 | * |
| 11/10 | 35.4 | 63.4 | * | * | 23.8 | 53.6 | * | * | 0.33 | 0.16 | * | * |
| 11/14 | 44.8 | 60.8 | 73.9 | 87.7 | 24.5 | 40.5 | 52.5 | 65.5 | 0.47 | 0.30 | 0.23 | 0.16 |
| 11/16 | 44.1 | 60.3 | 69.8 | 56.9 | 24.3 | 45.9 | 58.8 | 50.4 | 0.45 | 0.24 | 0.16 | 0.11 |
| 11/17 | 55.4 | 86.6 | 107.0 | 123.0 | 33.4 | 63.3 | 82.3 | 94.2 | 0.40 | 0.27 | 0.23 | 0.23 |
| 11/18 | 101.9 | 101.0 | * | * | 58.6 | 82.5 | * | * | 0.43 | 0.18 | * | * |
| 11/20 | 74.9 | 97.3 | 99.6 | * | 70.5 | 83.4 | 89.6 | * | 0.06 | 0.14 | 0.10 | * |
| 11/21 | 76.4 | 98.4 | 96.7 | * | 49.2 | 65.2 | 72.4 | * | 0.36 | 0.34 | 0.25 | * |
| 11/22 | 96.0 | 428.5 | * | * | 62.3 | 197.5 | * | * | 0.35 | 0.54 | * | * |
| 11/23 | 100.0 | 100.0 | 100.0 | 100.0 | 76.4 | 80.0 | 81.9 | 82.1 | 0.24 | 0.20 | 0.18 | 0.18 |
| 11/24 | 100.4 | 100.5 | 99.4 | 97.5 | 76.9 | 78.6 | 85.0 | 84.4 | 0.23 | 0.22 | 0.14 | 0.13 |
| 11/25 | 93.0 | 310.7 | 388.1 | * | 58.6 | 126.1 | 196.5 | * | 0.37 | 0.59 | 0.49 | * |
| 11/26 | 87.4 | 130.3 | 125.8 | 132.9 | 47.6 | 71.3 | 82.3 | 94.1 | 0.46 | 0.45 | 0.35 | 0.29 |
| 11/27 | 47.0 | 46.5 | 43.2 | 45.7 | 26.9 | 29.4 | 28.3 | 31.0 | 0.43 | 0.37 | 0.35 | 0.32 |
| 11/28 | 225.5 | 468.7 | 345.4 | 381.5 | 58.9 | 61.8 | 64.6 | 68.1 | 0.74 | 0.87 | 0.81 | 0.82 |
| Mean |  |  |  |  |  |  |  |  | 0.39 | 0.21 | 0.19 | 0.19 |

## 3.1.1 Sensitivity to VOF smoothness

The optical flow estimation result with two different smoothness parameters α (Eq. 4) is shown in Fig. 2. As expected, more spatial variations of cloud motion and sharper motion boundaries are observed for a smaller α. The larger α yields a smoother flow field with a tradeoff of possible less accurate local flow estimation.

VOF forecast from a less smoothed flow field (α=0.01) is shown to perform better for FH of 1 and 5 min for Nov 10 and Nov 14, respectively (Fig. 3). The less smoothed flow field better captured the small-scale motion near the cloud edge and forecasts more accurately for a very short forecast horizon. Yet, the physical lifetime of these small scales is usually only a few minutes after which they become unpredictable leading to deviations from the frozen cloud map assumption and larger forecast errors as the forecast horizon increases. Especially for the cumulus case (Nov 10) cloud turbulence is stronger and small scales are expected to have shorter life times leading to the earlier cross-over between the different smoothness parameters in Fig. 3. This implies that the optimal cloud motion field should be smooth enough to avoid extrapolating localized motion beyond its lifetime, yet able to capture spatially heterogeneous cloud motion. Therefore, a FH-dependent smoothness parameters may be advantageous to yield the optimum forecast over all time horizons, at least for days with boundary layer clouds that are associated with turbulent motion on a large range of time scales. However, the implementation of such a procedure would require significant fine tuning and was beyond the scope of this paper and α=0.1 was used for the remainder of manuscript.

| Figure 2. Optical flow estimation of the residual RBR image on November 10th, 2012, 08:46:00 PST out to zenith angles of 75° (a) with spatial smoothness α=0.01 (b) and α=0.1 (c). The colorbar indicates the motion magnitude in pixel per frame. |  |  |  |  |
| --- | --- | --- | --- | --- |
| Figure 3. Cloud forecast performance for Nov 10 (cumulus) and 14, 2012 (cirrus clouds) with smoothness α=0.01 and 0.1. Cloud matching error for FH beyond 10 min is not shown for Nov 10 since more than 70% of the cloud map is advected out of the USI field-of-view. |  |  |

# 3.2 Cloud stability

The tracking result of an image sequence of cumulus clouds on Nov 10 is illustrated in Fig. 4. A set of points on a regular grid was initialized in areas with high image structure (see beginning of Section 2.3). High image structure exists primarily in partly cloudy conditions, while image structure is small in clear sky region and homogenous cloud areas (Fig. 4a). Points were tracked from frame to frame according to the optical flow field to construct point trajectories. In Fig. 4b, nearly half of the points had been tracked for 5 min (light green color), while the remaining points have a shorter trajectory length (blue) due to cloud break-up (yellow box of Fig. 4b) and formation and entering the sky imager field of view.  Only a small fraction of points were tracked for 7.5 min (Fig. 4c) and two clouds were merging to form a larger cloud (yellow box of Fig. 4c). In this image sequence, the longest point trajectories (orange color) are associated with the largest cloud from the first frame. Generally, large clouds were observed to have longer point trajectories presumably since they are thicker on average and therefore contain more liquid water. Therefor cloud evaporation and deformation requires more energy and time, which results in less change of appearance.

The tracking result of an image sequence of cirrus clouds on Nov 14 is shown in Fig. 5. This image sequence presented temporally stable clouds without deformation and with uniform motion across the sky. Only a small fraction of points were terminated and not tracked to for 7.5 min (Fig. 5c).

| Figure 4. A set of points is initialized with a sub-sampled grid on a residual RBR image (a) and tracked for 5 min or 10 frames with Tlen=3.18 min (b) and 7.5 min or 15 frames with Tlen=3.79 min (c) on November 10th, 2012. For ease of following the cloud motion the largest cloud is demarcated by the yellow box. While the sequence illustrated here begins at 16:46:00 UTC, the point trajectory method is implemented at the beginning of each day when solar zenith angle (SZA) <75°. Trajectories are initialized everywhere but Tlen (colorbar) is not counted in the transition zone (as indicated by the red dashed box) to avoid Tlen being biased low from new clouds entering the forecast domain. The colorbar indicates the point trajectory length in minutes. |  |  |
| --- | --- | --- |

| Figure 5. A set of points is initialized (a) and tracked for 5 min or 10 frames with Tlen=4.38 min (b) and 7.5 min or 15 frames with Tlen=6.71 min (c) on November 14th, 2012 at 18:00:00 UTC. Cirrus clouds were observed to be stable with almost constant image structures that yield long trajectory points. |  |  |
| --- | --- | --- |

Using the point trajectory technique described in Section 2.3, point trajectory lengths were sampled at the forecast issue time on the 20 days listed in Table 1. To investigate the relationship between point trajectories lengths and cloud stability, time series plots of VOF matching error, cloud fraction, and average trajectory length  Tlen for 5 min forecast of two different days are presented in Fig. 6. While the cloud matching error is presented at forecast valid time, the trajectory length sampled at forecast issue time is shifted to the forecast valid time to facilitate comparison. November 7 (Fig. 6a) illustrates a day with poor forecast accuracy (cap error of 89%). Starting at 1900 UTC highly variable cumulus clouds are observed in the sky images (not shown here) which is reflected in the short trajectory length ( Tlen=1.18 min). Therefore, image persistence and VOF forecasts performed similarly on this day.

On the other hand, on November 8 multiple cloud layers are observed. Between 1600 - 1800 UTC stable altocumulus and cirrus clouds brought forth a Tlen between 2 and 10 min (Fig. 6b). Cloud-advection outperformed persistence forecast during this period as indicated by the smaller matching error. Shallow cumulus clouds along with altocumulus clouds were predominant from 2000 UTC until 2300 UTC.  Tlen is between 1 and 5 min and persistence and cloud advection forecasts performed similarly.  From 2300 UTC until sunset, single layer altocumulus clouds with a trajectory length around 5 min allowed cloud advection to outperform persistence again. These observations indicate a correlation of the point trajectory length with cloud stability and cap error.

Figure 6. Time series of cloud matching error em for VOF and image persistence, average trajectory length Tlen, and cloud fraction on November 7, 2011 (a), and November 8, 2011 (b). Large and small cloud fractions are typically associated with small matching errors.

To determine the general applicability of trajectory length as a forecast confidence metric for an operational forecast setting, boxplots of 5 and 10 min cap error against average trajectory length for all days are presented in Fig. 7.  The results indicate that both 5 and 10 min cap errors decrease as  Tlen increases. For 5 min forecasts, VOF forecast began to perform 50% better (as measured by the median) than image persistence for trajectory lengths of 5 min. For 10-min VOF forecast to outperform 50% persistence, a minimum length of 6 min is required. It is expected that the critical trajectory length for VOF to outperform persistence increases with forecast horizon, as the frozen cloud assumption must hold over the forecast horizon. While the critical trajectory length may be expected to be larger than the forecast horizon, it is important to note that many trajectory points may terminate due to small scale deformation of the cloud, while the large scale feature of the cloud will remain intact and is most relevant for cap error.

Table 2 summarizes daily 5 min cap errors along with  Tlen. For the 8 out of 20 days that have cap error greater than 75% , the average  Tlen is 1.53 min, while it averages 3.93 min for the remaining days. The results indicate that trajectories are longer (Tlen > 2 min) for days when cloud advection improves 25% over image persistence forecast confirming the hypothesis that short trajectories imply unstable clouds. However, the daily averaged values may not be representative since cloud conditions often vary during the day (e.g. Nov 8 in Fig. 6b).

| a |  |
| --- | --- |
| b |  |

| Figure 7. Boxplot of VOF cap error as a function of average trajectory length Tlen for 5 min (a) and 10 min (b) forecast horizons. Red lines and dots indicate the median and outliers respectively. The top and bottom of the box shows the 75th and 25th percentile. The end of the whisker marks the value of the data set that are within 1.5 times the interquartile range. |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Table 2. Daily 5-min cap errors of VOF forecasts and average trajectory length. No trajectory length greater than 1 min is observed on Nov 28 due to false cloudy sky caused by inaccurate cloud decision. |  |  |  |  |  |
|  | ecap,VOF [%] | Tlen [min] |  | ecap,VOF [%] | Tlen [min] |
| Nov 01 | 59.4 | 3.13 | Nov 18 | 82.5 | 1.56 |
| Nov 02 | 68.5 | 2.41 | Nov 20 | 83.4 | 1.17 |
| Nov 03 | 85.9 | 1.16 | Nov 21 | 65.2 | 2.76 |
| Nov 07 | 89.0 | 1.18 | Nov 22 | 197.5 | 1.35 |
| Nov 08 | 61.1 | 4.05 | Nov 23 | 80.0 | 1.04 |
| Nov 09 | 58.4 | 3.02 | Nov 24 | 78.6 | 1.05 |
| Nov 10 | 53.6 | 2.95 | Nov 25 | 126.1 | 2.62 |
| Nov 14 | 55.8 | 4.57 | Nov 26 | 71.3 | 3.33 |
| Nov 16 | 45.9 | 4.74 | Nov 27 | 29.4 | 8.57 |
| Nov 17 | 63.3 | 3.72 | Nov 28 | 61.8 | NaN |

# 4. Conclusion

Techniques for dense motion estimation and point trajectories were presented. A month of image data captured by a sky imager at UC San Diego was analyzed to determine the accuracy of variational optical flow (VOF) forecasts and infer cloud stability. Cloud-advection was based on motion estimation between successive frames that are 30 seconds apart. The VOF method not only resulted in better motion estimation (0 min forecasts), it was also able to produce accurate cloud forecasts (>0 min) by capturing multiple independent cloud motions while maintaining a spatially smooth motion field across an image. The VOF forecast was found to be superior to CCM forecast for with an average error reduction of 39%, 21%, 19%, and 19% for 0, 5, 10, and 15 min forecasts respectively. While image persistence outperformed VOF forecast for forecast horizons of 5 and 10 min on 2 out of 20 days these days were associated with highly variable clouds that make any cloud advection approach challenging.

The VOF analysis demonstrated that unstable clouds make accurate cloud motion forecasts impossible and such conditions need to be identified to quantify forecast confidence.  Cloud stability was successfully quantified using point trajectory lengths by tracking points in an image sequence to form trajectories. Trajectory lengths were correlated with forecast cap errors for both daily averaged metrics and individual forecast realizations. Consequently, short trajectory lengths are associated with large cap error of VOF forecast (or low confidence), while long trajectory lengths and small matching errors were related to high cloud stability. The VOF forecast was found to be 50% superior to image persistence forecast for 5 and 10 min forecast horizons with a minimum trajectory length of 5 and 6 min respectively. Point trajectory length was proven to be a valuable forecast confidence and cloud stability metric that can provide information on the applicability of the frozen cloud map assumption at forecast issue time.

# References

Bedka, K. M., & Mecikalski, J. R. (2005). Application of satellite-derived atmospheric motion vectors for estimating mesoscale flows. Journal of Applied Meteorology, 44(11), 1761-1772.

Black, M. J., & Anandan, P. (1996). The robust estimation of multiple motions: Parametric and piecewise-smooth flow fields. Computer Vision and Image Understanding, 63(1), 75-104.

Bosch, J. L., and J. Kleissl. "Cloud motion vectors from a network of ground sensors in a solar power plant." Solar Energy 95 (2013): 13-20.

Bosch, J. L., Zheng, Y., & Kleissl, J. (2013). Deriving cloud velocity from an array of solar radiation measurements. Solar Energy, 87, 196-203.

Brox, T. (2005). From pixels to regions: partial differential equations in image analysis (Doctoral dissertation).

Brox, T., & Malik, J. (2010). Object segmentation by long term analysis of point trajectories. In Computer Vision–ECCV 2010 (pp. 282-295). Springer Berlin Heidelberg.

Chow, C. W., Urquhart, B., Lave, M., Dominguez, A., Kleissl, J., Shields, J., & Washom, B. (2011). Intra-hour forecasting with a total sky imager at the UC San Diego solar energy testbed. Solar Energy, 85(11), 2881-2893.

Corpetti, T., Mémin, É., & Pérez, P. (2002). Dense estimation of fluid flows.Pattern Analysis and Machine Intelligence, IEEE Transactions on, 24(3), 365-380.

Corpetti, T., Heitz, D., Arroyo, G., Memin, E., & Santa-Cruz, A. (2006). Fluid experimental flow estimation based on an optical-flow scheme. Experiments in fluids, 40(1), 80-97.

Eber, K., & Corbus, D. (2013). Hawaii Solar Integration Study: Executive Summary.

Ela, E., Diakov, V., Ibanez, E., & Heaney, M. (2013). Impacts of variability and uncertainty in solar photovoltaic generation at multiple timescales. Contract,303, 275-3000.

Fung, V., Bosch, J. L., Roberts, S. W., & Kleissl, J. (2013). Cloud speed sensor. Atmospheric Measurement Techniques Discussions, 6(5), 9037-9059.

Hamill, T. M., & Nehrkorn, T. (1993). A short-term cloud forecast scheme using cross correlations. Weather and Forecasting, 8(4), 401-411.

Héas, P., Memin, E., Papadakis, N., & Szantai, A. (2007). Layered estimation of atmospheric mesoscale dynamics from satellite imagery. Geoscience and Remote Sensing, IEEE Transactions on, 45(12), 4087-4104.

Héas, P., & Mémin, E. (2008). Three-dimensional motion estimation of atmospheric layers from image sequences. Geoscience and Remote Sensing, IEEE Transactions on, 46(8), 2385-2396.

Heitz, D., Mémin, E., & Schnörr, C. (2010). Variational fluid flow measurements from image sequences: synopsis and perspectives. Experiments in fluids,48(3), 369-393.

Helman, U., Loutan, C., Rosenblum, G., Rothleder, M., Xie, J., & Zhou, H. (2010). Integration of renewable resources: Operational requirements and generation fleet capability at 20% rps. California Independent System Operator.

Hoff, T. E., & Perez, R. (2012). Modeling PV fleet output variability. Solar Energy, 86(8), 2177-2189.

Horn, B. K., & Schunck, B. G. (1981). Determining optical flow. Artificial Intelligence, 17(1), 185-203.

Huang, H., Xu, J., Peng, Z., Yoo, S., Yu, D., Huang, D., & Qin, H. (2013, October). Cloud motion estimation for short term solar irradiation prediction. InSmart Grid Communications (SmartGridComm), 2013 IEEE International Conference on (pp. 696-701). IEEE.

Jacobs, N., Islam, M. T., & Workman, S. (2013). Cloud Motion as a Calibration Cue. In Computer Vision and Pattern Recognition (CVPR), 2013 IEEE Conference on (pp. 1344-1351). IEEE.

Lave, M., & Kleissl, J. (2013). Cloud speed impact on solar variability scaling–Application to the wavelet variability model. Solar Energy, 91, 11-21.

Liu, C. (2009). Beyond pixels: exploring new representations and applications for motion analysis (Doctoral dissertation, Massachusetts Institute of Technology).

Liu, S., Wang, C., Xiao, B., Zhang, Z., & Cao, X. (2013). Tensor Ensemble of Ground-Based Cloud Sequences: Its Modeling, Classification, and Synthesis.IEEE Geoscience and Remote Sensing Letters, 10, 1190-1194.

Lorenz, E., Hammer, A., & Heinemann, D. (2004). Short term forecasting of solar radiation based on satellite data. In Proc. ISES Europe Solar Congress EUROSUN2004, Freiburg, Germany.

Lucas, B. D., & Kanade, T. (1981, August). An iterative image registration technique with an application to stereo vision. In IJCAI (Vol. 81, pp. 674-679).

Marquez, R., & Coimbra, C. F. (2013). Intra-hour DNI forecasting based on cloud tracking image analysis. Solar Energy, 91, 327-336.

Menzel, W. P. (2001). Cloud tracking with satellite imagery: From the pioneering work of Ted Fujita to the present. Bulletin of the American Meteorological Society, 82(1), 33-47.

Perez, R., Kivalov, S., Schlemmer, J., Hemker Jr, K., Renné, D., & Hoff, T. E. (2010). Validation of short and medium term operational solar radiation forecasts in the US. Solar Energy, 84(12), 2161-2172.

Quesada-Ruiz, S., Chu, Y., Tovar-Pescador, J., Pedro, H. T. C., & Coimbra, C. F. M. (2014). Cloud-tracking methodology for intra-hour DNI forecasting. Solar Energy, 102, 267-275.

Shields, J. E., Karr, M. E., Johnson, R. W., & Burden, A. R. (2013). Day/night whole sky imagers for 24-h cloud and sky assessment: history and overview.Applied Optics, 52(8), 1605-1616.

Sundaram, N., Brox, T., & Keutzer, K. (2010). Dense point trajectories by GPU-accelerated large displacement optical flow. In Computer Vision–ECCV 2010 (pp. 438-451). Springer Berlin Heidelberg

Szeliski, R. (2010). Computer vision: algorithms and applications. Springer.

Urquhart, B., Ghonima, M., Nguyen, D., Kurtz, B., Chow, C. W., Kleissl, J. (2013). Sky-Imaging Systems for Short-Term Forecasting. In J. Kleissl, Solar Energy Forecasting and Resource Assessment (pp. 195-232). Academic Press.

Urquhart, B., Kurtz, B., Dahlin, E., Ghonima, M., Shields, J. E., & Kleissl, J. (2014). Development of a sky imaging system for short-term solar power forecasting. Atmospheric Measurement Techniques Discussions, 7(5), 4859-4907.

Yang, H., Kurtz, B., Nguyen, D., Urquhart, B., Chow, C. W., Ghonima, M., & Kleissl, J. (2014). Solar irradiance forecasting using a ground-based sky imager developed at UC San Diego. Solar Energy, 103, 502-524.

# Appendix

Table A.1: Summary of sky conditions listed chronologically. Sky conditions joined by an ampersand indicate simultaneous occurrence. All times in PST (UTC - 8 hours) (Adapted from Yang et al, 2014 with permission).

| Date | Morning (7:00 - 9:59) | Midday (10:00 - 12:59) | Afternoon (13:00 - 16:00) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Nov 1, 2012 | OVC | Cu-EF | CLR, Ci |  |  |  |  |  |  |
| Nov 2, 2012 | OVC, Cu-EF | CLR | CLR |  |  |  |  |  |  |
| Nov 3, 2012 | CLR | CLR, Cu | Cu |  |  |  |  |  |  |
| Nov 4, 2012 | CLR | CLR | CLR |  |  |  |  |  |  |
| Nov 5, 2012* | CLR | CLR | CLR |  |  |  |  |  |  |
| Nov 6, 2012 | CLR, Fog (brief) | CLR | CLR |  |  |  |  |  |  |
| Nov 7, 2012 | OVC | Cu-EF | Cu-EF |  |  |  |  |  |  |
| Nov 8, 2012 | Ci, Ac | Cu-EF & Ac | Cu & Ac |  |  |  |  |  |  |
| Nov 9, 2012 | Cu & Ac, Ac | Ac, Cu & Ac | Cu-EF |  |  |  |  |  |  |
| Nov 10, 2012 | Cu | Cu-EF | Cu-EF, CLR |  |  |  |  |  |  |
| Nov 11, 2012 | CLR | CLR | CLR |  |  |  |  |  |
| Nov 13, 2012 | CLR | CLR | CLR |  |  |  |  |  |
| Nov 14, 2012 | Ci | Ci, Cc | Cc |  |  |  |  |  |
| Nov 15, 2012 | OVC | OVC | OVC |  |  |  |  |  |
| Nov 16, 2012 | Ac, CLR | CLR, Ac, CLR | CLR, Ac |  |  |  |  |  |
| Nov 17, 2012 | Cu-EF | Cu-EF | Ac |  |  |  |  |  |
| Nov 18, 2012 | OVC, Cu-EF & Ac | Cu-EF, Ci, Cu & Ci | Cu |  |  |  |  |  |
| Nov 19, 2012 | CLR | CLR | CLR, Cu |  |  |  |  |  |
| Nov 20, 2012 | CLR | CLR | Cu |  |  |  |  |  |
| Nov 21, 2012 | OVC | Cu-EF, CLR | CLR |  |  |  |  |  |
| Nov 22, 2012 | Fog, Cu-EF | ≈ CLR | Cu-EF |  |  |  |  |  |
| Nov 23, 2012 | OVC | CLR, Cu-EF, CLR | CLR, Cu-EF, OVC |  |  |  |  |  |
| Nov 24, 2012 | CLR | CLR | CLR, Cu, Haze |  |  |  |  |  |
| Nov 25, 2012 | OVC | OVC, Cu-EF, CLR | CLR, Cu, CLR |  |  |  |  |  |
| Nov 26, 2012 | Cu-EF | CLR, Cu-EF, Cu-EF & Ci | Cu-EF & Ci |  |  |  |  |  |
| Nov 27, 2012 | OVC | Cu-EF & Ci, Ci | Cc, Cc & Cu, OVC |  |  |  |  |  |
| Nov 28, 2012 | OVC | Cu-EF, Haze | CLR |  |  |  |  |  |
| Nov 29, 2012 | OVC | OVC | OVC, Ac |  |  |  |  |  |
| Nov 30, 2012 | OVC | Cu-EF & Ac, OVC | OVC |  |  |  |  |  |
| Dec 1, 2012 | OVC, Cu-EF & Ci | Cu-EF & Ci | Ci, Cu & Ci |  |  |  |  |  |
| Dec 2, 2012 | OVC | OVC, Cu | CLR |  |  |  |  |  |

CLR: Clear sky. Cloud fraction < 5%. 
OVC: Overcast. Cloud fraction > 95%. 
-EF: Denotes periods of prominent cloud evaporation and formation. 
Cu: Cumulus clouds. Low-level (< 2 km) clumpy clouds with sharp edges. 
Ac: Altocumulus clouds. Mid-level (2 km to 6 km) clumpy clouds with sharp edges.
 Cc: Cirrocumulus clouds. High-level (> 6 km) clumpy clouds with sharp edges. 
Ci: Cirrus clouds. High-level (> 6 km) thin, wispy clouds.